## Slide 1
8TH INTERNATIONAL SYMPOSIUM ON COMPUTATIONAL WIND ENGINEERING
From Machine Learning Fundamentals
to Surrogate Modeling
Accelerating Engineering Simulations with Deep Learning
From foundational concepts to a real engineering application: building a deep-learning surrogate that approximates CFD simulations of natural ventilation and turns hour-long solves into millisecond predictions.
Lecture by: Dagimawi D. Eneyew (PhD)

## Slide 2
WORKSHOP ROADMAP
From ML Fundamentals to Surrogate Modeling
2 / 52
THREE PARTS, ONE GOAL
How This Workshop Is Organized
Each part builds on the one before it, leading to a complete surrogate modeling workflow.
1
ML Foundations
The essential concepts
What learning means
Neural networks & training
From CNNs to U-Net
Build the vocabulary and intuition.
2
Surrogate Modeling
The idea & the workflow
What & why of surrogates
Typical applications
The end-to-end workflow
See the map before we walk it.
3
Hands-On Build
Follow the workflow live
Preprocess CFD data
Train a U-Net surrogate
Evaluate & visualize
Turn hour-long CFD into milliseconds.
Everything points to Part 3: by the end you will have built and evaluated a CFD surrogate model.

## Slide 3
1
PART 1
Machine Learning Foundations
Before we build anything, we need shared intuition. What does it mean for a machine to learn? We start from the simplest idea and build, step by step, up to the kind of network we will use in the workshop.
PART 1 · 3 / 55

## Slide 4
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
4 / 52
THE CORE IDEA
What Does It Mean to "Learn"?
Traditional programming
A human writes the rules by hand. (Rule based)
Rules
(written by you)
Data
Answers
Works when the rules are simple to state. But how do you write the rules for "is this a photo of a cat?"
Machine learning
The machine discovers the rules from examples.
Data
Answers
(examples)
Rules
(learned)
Show it thousands of cat and non-cat photos; it figures out the pattern on its own.
The big shift: instead of telling the computer how to solve the problem, we give it many examples of the right answer and let it find the pattern itself.

## Slide 5
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
5 / 52
THE LANDSCAPE
Where Does Deep Learning Fit?
"Machine learning" is one idea inside a bigger family. Knowing the nesting keeps the vocabulary straight before we go deeper.
ARTIFICIAL INTELLIGENCE
MACHINE LEARNING
DEEP
LEARNING
neural networks
with many layers
Artificial Intelligence
Term describing machines that mimic human intelligence, such as reasoning, problem solving,… etc.
Can be Rule-based or Learning-based systems.
Machine Learning
A subset of AI: systems that learn patterns from data (Learning-based) instead of being hand-coded.
Deep Learning
A subset of ML using multi-layer neural networks.

## Slide 6
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
6 / 52
WHAT CHANGED
Why Deep Learning?
Machine learning has existed for decades. Three things made deep learning explode in the last fifteen years — and made surrogate models like ours practical.
▦
More data
Sensors, simulations, and storage made huge labeled datasets available to learn from.
⚙
More compute
GPUs made it possible to train networks with millions of parameters in hours, not months.
◇
Better methods
Activations, optimizers, and architectures (like the CNN) that actually train deep networks well.
Why it matters for engineering
The big strength of deep learning: it learns its own features directly from raw data.
Older methods needed an expert to hand-design what to measure.
Trade-off
Deep learning needs more data and compute than classical methods — worth it when the problem is complex.

## Slide 7
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
6 / 55
WHERE NEURAL NETWORKS SIT
A Quick Map of ML Methods
Neural networks are not the only way to learn. It helps to know the main families and when each shines.
Classical ML
great on smaller, table-shaped data
Linear / logistic regression — simple, interpretable baselines
Decision trees & random forests — robust, handle mixed features
Gradient boosting (XGBoost) — strong on tabular data
Support vector machines — effective in high dimensions
Deep learning (neural networks)
wins on large, high-dimensional, structured data
Images, fields, and grids (like our CFD data)
Audio, language, and sequences
Anything where useful features are hard to hand-design
Problems with lots of training data available
Rule of thumb: tabular data → start classical; images, fields, and other grid-like data → deep learning. Our velocity-field problem is squarely in deep-learning territory.

## Slide 8
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
8 / 52
SUPERVISED LEARNING
Learning from Labeled Examples
The hands-on example in this workshop is a supervised learning problem: we have example inputs paired with the correct outputs, and the model learns to map one to the other.
INPUT
e.g. a house's size,
location, # of rooms
MODEL
a function with adjustable
internal settings (parameters)
OUTPUT
e.g. the predicted
selling price
How it learns
1. The model makes a guess. 2. We compare the guess to the known correct answer. 3. We tune the parameters so the next guess is a little closer.
Repeat over many examples, many times, and the model gets good at the mapping. We will unpack each step next.
Terminology: the example inputs are features, the correct answers are labels, and the adjustable settings are parameters (or weights).

## Slide 9
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
9 / 52
TYPES OF MACHINE LEARNING
Supervised Learning Is One of Three
We just saw supervised learning. It helps to know where it sits — and what kind of supervised problem ours is.
Supervised
Learn from labeled examples (input → known answer).
our case: geometry → velocity field
◀ we are here
Unsupervised
Find structure in data with no labels at all.
clustering, compression
Reinforcement
Learn by trial and error from rewards.
robotics, game-playing
Two flavors of supervised learning
Regression
◀ our task
Predict continuous numbers.
temperature, price, or a velocity at every pixel — this is our task.
Classification
Predict a category / label.
cat vs dog, pass vs fail, defect vs no-defect.

## Slide 10
PART 1 · FOUNDATION
Deep Learning for Engineering · Part I: Foundations
10 / 52
TWO FLAVOURS OF SUPERVISED LEARNING
Regression vs Classification
REGRESSION
Outputs are continuous values.
input x
y
Velocity · temperature
Loss: MSE, MAE
SURROGATE MODELS LIVE HERE
CLASSIFICATION
Outputs are discrete categories.
input x
Defective vs OK · spam vs not spam
Loss: cross-entropy

## Slide 11
PART 1 · FOUNDATION
11 / 52
TYPES OF MACHINE LEARNING
Features and Labels
THE DATASET
x₁
x₂
x₃
y
feature
feature
feature
label
0.83
12.4
0.21
0.412
1.05
09.7
0.18
0.501
0.94
14.1
0.27
0.388
1.21
11.3
0.22
0.553
0.78
13.8
0.19
0.371
⋮
⋮
⋮
⋮
Features (x)
Measured quantities describing the input — geometry, fluid properties, boundary values. Often pre-processed into clean numeric vectors.
Labels (y)
The target the model must reproduce — drag coefficient, peak stress, a full field. Comes from simulation or experiment.
Dataset
A collection of (x, y) pairs assumed to be drawn from the same underlying physical relationship the model is trying to learn.
From ML Fundamentals to Surrogate Modeling

## Slide 12
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
12 / 52
THE MODEL WE WILL USE
What Is a Neural Network?
Input
Layer
Hidden
Layer
Hidden
Layer
Output
Layer
information flows left → right
1
Neurons
Each circle holds a number. It is a tiny unit that takes inputs, combines them, and passes a value on.
2
Weights
Each connection has a weight that strengthens or weakens the signal. These are the parameters the model learns.
3
Layers
Stacking layers lets the network combine simple patterns into more complex ones, step by step.
weight
Neurn.

## Slide 13
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
13 / 52
ZOOMING INTO A SINGLE CIRCLE
Inside One Neuron
Each circle in that diagram does the same tiny computation: weigh its inputs, add them up, and pass the result through a simple function.
x₁
w₁
x₂
w₂
x₃
w₃
Σ
b
σ ( · )
activation
y
THE NEURON EQUATION
y = σ ( Σ wᵢ xᵢ + b )
xᵢ
inputs
wᵢ
weights (learned)
b
bias (learned)
σ
activation function
y
output
A weighted sum plus a nonlinearity. Stack thousands of these and you have a neural network.

## Slide 14
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
14 / 52
THE NON-LINEARITY THAT MAKES IT ALL WORK
Why Activations Matter
WITHOUT ACTIVATIONS
Stacking many linear layers…
W₁ x + b₁
W₂ (·) + b₂
W₃ (·) + b₃
…collapses to a single linear map.
≡ W★ x + b★
No matter how deep, the network can only model straight-line relationships.
Real world engineering problems are mostly nonlinear.
WITH ACTIVATIONS
Inserting a nonlinear σ between layers…
σ(W₁x + b₁)
σ(W₂(·)+b₂)
σ(W₃(·)+b₃)
…unlocks composition.
highly nonlinear f(x)
The network can now approximate arbitrarily complex relationships.
Universal approximation theorem.

## Slide 15
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
15 / 52
ACTIVATION FUNCTIONS
Common Activation Functions
That σ is the activation. Without it, stacking layers would just give one big linear formula — the nonlinearity is what lets networks learn complex patterns.
ReLU
max(0, x)
Default for hidden layers — including our U-Net.
Sigmoid
1 / (1 + e⁻ˣ)
Squashes to (0,1) — good for probabilities.
Tanh
Rule of thumb: ReLU for hidden layers; pick the output activation to match your target range.

## Slide 16
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
16 / 52
THE TRAINING LOOP
How a Network Learns
Training is a feedback loop. The network practices, checks how wrong it was, and adjusts — over and over.
1
Forward pass
Push a batch of data through the network.
The network outputs a guess.
2
Compute loss
Compare predictions with ground-truth labels — a single scalar.
3
Backward pass
Compute which way to nudge each
weight to reduce the error (gradient).
4
Weight update
Take a small step in that
direction. Weights improve slightly.
repeat for every example, many times (epochs)
Intuition: like adjusting a shower's hot and cold taps. You feel the temperature (error), turn the taps a little (update), feel again, and repeat until it's just right.

## Slide 17
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
17 / 52
THE LOSS FUNCTION
Loss: Measuring "How Wrong"
Step 2 of the loop needs a precise definition. The loss function turns "how wrong was the guess?" into a single number the network can minimize.
THE IDEA
One number that measures how far predictions are from the truth.
Lower loss = better predictions. Training is just the search for weights that make this number small.
For our task (predicting numbers) we use a regression loss.
Mean Squared Error (MSE)
average of (g.truth − prediction)²
The default. Punishes big mistakes hard, so the model really avoids large errors.
Mean Absolute Error (MAE)
average of |g.truth − prediction|
Treats all errors evenly. More forgiving of occasional outliers in the data.
The loss is your specification of what "good" means. We will train our U-Net to minimize MSE on the velocity field.

## Slide 18
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
18 / 52
WALKING DOWNHILL ON THE LOSS
Gradient Descent
Step 3–4 of the loop, made precise. The gradient points uphill on the loss; we step the opposite way to reduce error.
Loss landscape
minimum
each step moves downhill
THE UPDATE RULE
w := w − η · ∂L/∂w
update each weight by stepping against its gradient
w
a weight (parameter) of the network
η
the learning rate — the step size you choose
∂L/∂w
the gradient: how the loss L changes with w
In words: the gradient ∂L/∂w says which direction increases the loss; the minus sign turns us around; η controls how far we move. Repeat for every weight, every batch — and how we get ∂L/∂w is backpropagation, next.

## Slide 19
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
19 / 52
HOW WE COMPUTE ∂L/∂w
Backpropagation
Gradient descent needs ∂L/∂w for every weight. Backpropagation computes them all efficiently using the chain rule, working backward from the loss.
Input
Layer 1
Layer 2
Output
Loss L
forward pass: data flows right, producing a prediction and a loss
backward pass: gradients flow left, layer by layer (the chain rule)
THE CHAIN RULE
Find how specific weight affects the loss, then multiply the partial derivative along the dependency path.
If you are interested in the detailed derivation, here is an excellent material: link
Why it flows backward
Start at the loss, where the error is known exactly.
Pass the gradient back through each layer, reusing the layer in front of it — no repeated work.
One backward pass yields ∂L/∂w for every weight at once.
Those gradients feed straight into w := w − η · ∂L/∂w.

## Slide 20
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
21 / 52
THE VOCABULARY OF TRAINING
Epochs, Batches, and Iterations
Three words you will see constantly while training. They simply describe how we feed the data through the loop.
Batch
A small group of examples processed together before one weight update. We rarely use the whole dataset at once — it might not fit on memory and updates would be slow.
e.g. 16 images at a time
Iteration
One weight update: process one batch, compute the loss, take one gradient-descent step.
1 batch = 1 iteration
Epoch
One full pass through the entire training set (many batches). Training usually runs for many epochs.
50 epochs = 50 passes
Putting it together: if you have 1,000 training examples and a batch size of 50, then one epoch = 20 iterations. Train for 30 epochs and the model sees the full dataset 30 times, taking 600 weight updates in total.

## Slide 21
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
22 / 52
GENERALIZATION, OVERFITTING & THE DATA SPLIT
Will It Work on New Data?
Getting the training answers right is not the goal — doing well on data it has never seen is. That single idea drives how we use our data.
Three outcomes
Underfit
too simple
Good fit
just right
Overfit
memorized
Overfitting = low error on training data but high error on new data.
So we split the data three ways
Train 80%
Val 10%
Test 10%
Train: the model learns its weights from this.
Validation: tune choices and watch for overfitting.
Test: touched once, at the end, for an honest score.
Golden rule: the test set must stay untouched until the very end.
We will use this exact 80 / 10 / 10 split in the hands-on — and revisit overfitting when we watch the loss curves.

## Slide 22
Deep Learning for Engineering · Part I: Foundations
23 / 52
THE DIAGNOSTIC YOU WILL RUN A THOUSAND TIMES
Overfitting vs Underfitting
epochs →
loss
sweet spot
underfit
overfit →
training loss
validation loss
Reading the curves
Underfitting
Both losses high and flat. Model lacks capacity or hasn't trained long enough.
Just right
Both losses low; small, stable gap. Stop here.
Overfitting
Training loss keeps dropping while validation loss rises. The model is memorizing.
interpretation
A surrogate that memorizes its training simulations is useless — it must predict the next geometry, not recite the last one.
PART 1 · FOUNDATIONS

## Slide 23
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
24 / 52
AND THE TOOLS THAT HELP
Why Deep Networks Are Tricky to Train
Overfitting isn't the only hurdle. A few common problems can stall training — and a few standard tools fix most of them.
Common problems
⚠
Inputs on different scales — one feature in thousands, another in fractions — training wobbles
⚠
Bad starting weights — begin too big or too small and signals explode or vanish
⚠
Vanishing gradients — in deep nets, early layers barely learn
⚠
Overfitting — memorizing training data instead of the pattern
Standard fixes
✓
Normalize the inputs — rescale features to a common range so all start on equal footing
✓
Smart weight initialization — proven schemes keep signals healthy from the first step
✓
ReLU + good architecture — design choices (like skip connections) keep gradients flowing
✓
Regularization — dropout, weight decay, and early stopping curb overfitting
You don't need to master each fix today — just know they exist and why. The libraries we use apply most of them for you.

## Slide 24
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
25 / 52
PUTTING INPUTS ON A COMMON SCALE
Feature Scaling
“Normalize the inputs” was one of the fixes. Here is exactly how — the two standard formulas, and why scaling matters so much for training.
Standardization (z-score)
z = ( x − μ ) / σ
μ = mean, σ = standard deviation (both from training data).
Result: mean 0, spread 1. All features are measured on the same statistical scale
Min–Max scaling
x′ = ( x − x_min ) / ( x_max − x_min )
x_min, x_max = smallest / largest value (from training data).
Result: every value in [0, 1]. Best when values have a known, bounded range (e.g. our flow-region labels).
Why scaling matters
Stability: if one input ranges 0–10 000 and another 0–1, the large one dominates the gradient and training becomes unstable.
Convergence: with all inputs on a similar scale, the loss surface is well-shaped, so gradient descent reaches a good solution in far fewer steps.
Golden rule: fit the scaler on the TRAINING set only, then apply the same μ, σ (or min, max) to validation and test — otherwise you leak information.

## Slide 25
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
26 / 52
THE FUEL FOR LEARNING
Data: Quantity and Quality
A model can only be as good as the data it learns from. Two questions matter: do we have enough, and is it representative?
Quantity
Deep networks are data-hungry. Too few examples and the model overfits or never learns the pattern.
More data usually beats a cleverer model
Each example here is a full CFD simulation — so data is precious
Techniques like augmentation can stretch a small dataset
Quality
Garbage in, garbage out. The data must be clean and cover the conditions you'll face in practice.
Remove corrupted or non-converged cases
Cover the full range of inputs (don't leave gaps)
Consistent units and formats throughout
In the hands-on, the preprocessing notebook is all about turning raw simulations into clean, well-scaled, representative data.

## Slide 26
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
27 / 52
MAE · RMSE · R²
Measuring Success: Regression Metrics
Once trained, how good is the model? For predicting numbers, three metrics do the job. (yᵢ = true value, ŷᵢ = prediction, N = number of points.)
MAE
Mean Absolute Error
(1/N) Σ | yᵢ − ŷᵢ |
Average error size, in the output's own units (m/s). Treats all errors equally; easy to read.
lower is better
RMSE
Root Mean Squared Error
√[ (1/N) Σ ( yᵢ − ŷᵢ )² ]
Like MAE but squares first, so large mistakes are penalized more heavily. Same units as output.
lower is better
Use them together: RMSE flags whether you have any big misses, MAE gives the typical error.

## Slide 27
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
28 / 52
THE SETTINGS YOU CHOOSE
Hyperparameters and Tuning
Parameters are learned by the model. Hyperparameters are the settings you choose before training — and getting them right is much of the craft.
Common hyperparameters
Learning rate — the step size (most important)
Batch size — how many examples per update
Number of epochs — how long to train
Network size — layers and neurons / channels
Regularization strength — how hard to fight overfitting
A practical tuning workflow
1
Start from sensible defaults
2
Change one thing at a time
3
Judge on the validation set only
4
Keep the settings that help; log every run
5
Never tune on the test set
Automated search (grid, random, or Bayesian) can help.

## Slide 28
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
29 / 52
CHOOSING A NETWORK SHAPE
Match the Architecture to the Data
"Neural network" is a family, not a single design. The right shape depends on what your data looks like.
Tables / vectors
MLP
plain fully-connected network; no special structure to exploit
Images / fields / grids
CNN
convolutions exploit local spatial patterns — our path to U-Net
◀ our data
Sequences / time series
RNN / Transformer
designed to handle order and long-range dependencies
Compression / denoising
Autoencoder
learns a compact code, then reconstructs the input
Our data is a stack of 2D fields — so we want a CNN. The next slides build one up from scratch, then extend it to the U-Net.

## Slide 29
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
30 / 52
THE SIMPLEST NETWORK
The Multi-Layer Perceptron
The MLP is the network we've drawn so far: every neuron connects to every neuron in the next layer. It's the foundation everything else builds on.
every neuron connects to every neuron in the next layer ("fully connected")
Good for
Table-shaped data where inputs have no special spatial or sequential structure — material properties, design parameters, sensor readings.
Struggles with
Images. Flattening a grid into a list loses spatial layout and needs far too many weights — exactly the problem we hit next, which the CNN solves.

## Slide 30
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
31 / 52
MOTIVATING CONVOLUTIONS
Why Images Need a Special Network
The naïve approach breaks down
a small image
(grid of pixels)
flattened
into a list
Two problems: (1) flattening throws away which pixels are next to which — the spatial layout is lost. (2) A full-size image has millions of pixels, so connecting every pixel to every neuron needs an impossible number of weights.
The key insight
Patterns are local. An edge, a corner, or an opening is defined by a small neighborhood of nearby pixels.
Patterns repeat. The same edge detector is useful in every part of the image, so we can reuse it everywhere.
So: scan a small detector across the image instead of wiring every pixel to every neuron.
This is exactly what a convolution does.

## Slide 31
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
32 / 52
KERNELS / FILTERS
Convolution: Sliding a Small Filter
A kernel (or filter) is a tiny grid of weights. We slide it across the image; at each spot it multiplies the overlapping pixels and sums them into one output number.
Input image
Kernel (filter) (3×3)
1
0
-1
1
0
-1
1
0
-1
multiply
+ sum
one
output
value
Slide everywhere
Move the window one step at a time across the whole image to produce a full grid of outputs.
Weights are shared
The same kernel is reused at every position — far fewer parameters, and the pattern is found anywhere.
Weights are learned
The network discovers useful kernels during training; we don't design them by hand.
Input field
Conv + ReLU
Pool
Conv + ReLU
Pool
Flatten
Output

## Slide 32
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
33 / 52
WHAT A CONVOLUTION PRODUCES
Feature Maps and Channels
One kernel (filter) produces one feature map
input
kernel A
feature map A
"where are vertical edges?"
A feature map is just an image that lights up where the kernel's pattern was found.
Many kernels (filter) → many channels (a stack of feature maps)
input
a bank of
kernels
a stack of feature maps = channels
Channels are the depth of this stack. A color photo starts with 3 channels (red, green, blue). After a convolution layer you might have 64 channels, each detecting a different pattern. Remember this — our workshop input has 3 channels too.

## Slide 33
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
34 / 52
DOWNSAMPLING
Pooling: Zooming Out
After finding patterns, we shrink the grid. Pooling keeps the strongest signal in each small region and discards exact pixel positions.
4 × 4 feature map
1
3
2
1
4
6
1
2
5
2
8
3
1
2
4
7
keep the
max of each
2×2 block
6
2
5
8
2 × 2
Why pool?
Fewer numbers to process → faster and lighter.
Bigger picture: each later neuron now "sees" a larger area of the original image.
Small shifts no longer matter — the network focuses on what is present, not its exact pixel.
Trade-off to remember: pooling gains efficiency and a wider view, but throws away precise location. For our task we will need to recover that location later — keep this in mind.

## Slide 34
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
35 / 52
FROM EDGES TO OBJECTS
Stacking Layers Builds a Hierarchy
Each convolution-and-pool block sees a wider area and combines simpler patterns into richer ones. Depth turns pixels into meaning.
Raw pixels
brightness values
Edges
lines, gradients
Textures & corners
combinations of edges
Parts & shapes
openings, wheels, eyes…
Whole objects
the full concept
deeper into the network →
This shrinking, deepening path has a name: the encoder. It compresses an image into a compact summary of "what is in it."

## Slide 35
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
36 / 52
FROM IMAGE TO ANSWER
Putting It Together: A CNN Pipeline
Here is how the pieces we just met combine into a classic CNN. Data flows left to right; each stage has one clear job.
Input
the raw image (a grid of pixels / channels)
Convolution
slide learned filters to detect local patterns → feature maps
ReLU
keep positives, zero negatives — adds the nonlinearity
Pooling
shrink the grid, keep the strongest signals
Flatten
unroll the final maps into a single long vector
Dense
fully-connected layers combine everything
Output
the prediction (a class, a number, or a field)
this block repeats, going deeper
Feature extractor (conv + ReLU + pool)
Stacked convolution–ReLU–pooling blocks turn raw pixels into increasingly abstract features — edges, then textures, then shapes. This is the part we keep for the U-Net.
Classifier head (flatten + dense)
Flatten + dense layers collapse the features into a final answer. Great for one output (“cat”) — but it throws away spatial layout, which we will need to fix for fields.
Toward U-Net: this CNN ends in a single answer. Our task needs a full output image, so we will keep the feature-extractor half and replace the flatten/dense head with a decoder that rebuilds a field — that is the encoder–decoder, next.

## Slide 36
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
37 / 52
WHEN THE OUTPUT IS ALSO AN IMAGE
Encoder–Decoder: Predicting a Whole Image
Classifying an image needs one answer ("cat"). But our task needs a full output image — a value at every pixel. For that, we add a decoder that expands the summary back to full size.
input
image
output
image
ENCODER
shrinks → "what is here"
DECODER
expands → "rebuild the image"
bottleneck
But there's a catch
The encoder threw away precise locations when it pooled. So the decoder, working only from the tiny bottleneck, produces a blurry output — it knows what, but not exactly where.
How do we get the sharp detail back?
The answer is the single idea that turns a plain encoder–decoder into a U-Net.

## Slide 37
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
38 / 52
THE ARCHITECTURE WE WILL BUILD
Skip Connections: Meet the U-Net
Skip connections copy the sharp, high-resolution detail from each encoder level straight across to the matching decoder level — restoring the "where" the bottleneck lost.
output
field
input
image
skip connections (copy detail across)
ENCODER
DECODER
The shape draws a "U" — hence U-Net.
Why it matters
The encoder finds what is in the image; the decoder rebuilds it; the skip connections keep edges and boundaries crisp.
Perfect for turning one field into another, pixel-for-pixel.
You now have the full toolkit.

## Slide 38
The U-Net Architecture We Will Build
Input (3, 128, 128) → 4 encoder levels → bottleneck → 4 decoder levels → Output (1, 128, 128)
INPUT
3 ch
128²
enc1
64 ch
128²
enc2
128 ch
64²
enc3
256 ch
32²
enc4
512 ch
16²
bottleneck
1024 ch
8²
dec4
512 ch
16²
dec3
256 ch
32²
dec2
128 ch
64²
dec1
64 ch
128²
OUTPUT
1 ch
128²
1×1 conv
skip connections (concatenate encoder features into the decoder)
DoubleConv block
2 × [ Conv 3×3 → BatchNorm → ReLU ]
BatchNormalization forces inputs to layers to have a consistent, predictable distribution.
Downsample (encoder)
strided Conv 3×3 (stride 2) halves H×W
learned downsampling, not MaxPool
Upsample (decoder)
bilinear ×2 → 1×1 conv halves channels
→ concat skip → DoubleConv
Features per level: [64, 128, 256, 512] → 1024 (bottleneck) Loss: MSE Optimizer: Adam Output head: 1×1 conv, no activation
PART 1 · FOUNDATIONS

## Slide 39
PART 1 · FOUNDATIONS
From ML Fundamentals to Surrogate Modeling
40 / 52
THE WIDER TOOLBOX
A Few More Architectures Worth Knowing
The U-Net is our tool, but the same building blocks power other useful designs. A quick tour so the landscape feels complete.
Autoencoders
Squeeze data into a compact code, then rebuild it. Used for compression, denoising, and anomaly detection.
an encoder–decoder with no skip connections
Sequence models
RNNs and Transformers handle ordered data — time series, text, signals — where what came before matters.
the engine behind modern language models
Physics-informed NNs
Bake physical laws into the loss so predictions respect known equations, even with little data.
blends data with first-principles physics
Notice the pattern: neurons, layers, activations, and training are shared by all of them. Learn the foundations once and every architecture becomes a variation on the same theme.

## Slide 40
2
PART 2
Surrogate Modeling
Now we have the tools. What is one of the applications in engineering ?
replacing a slow, expensive simulation with a fast learned approximation
PART 2 · 38 / 55

## Slide 41
PART 2 · SURROGATE MODELING
From ML Fundamentals to Surrogate Modeling
42 / 52
THE IDEA
What Is a Surrogate Model?
A surrogate (or "emulator") is a fast model that imitates the input-output behavior of a slow, expensive process.
The real process (ground truth)
Inputs
(geometry, conditions)
Expensive simulation
(CFD, …) — hours
Outputs
(fields, quantities)
The surrogate (learned shortcut)
Same inputs
Trained model
(U-Net) — milliseconds
Approximate
same outputs
learns to mimic
Formally: if the true process is y = f(x) and f is expensive, we train a surrogate g(x) ≈ f(x) that is cheap to evaluate.

## Slide 42
PART 2 · SURROGATE MODELING
From ML Fundamentals to Surrogate Modeling
43 / 52
THE PAYOFF
Why Surrogate Models Are Useful
⚡
Speed
Predictions in milliseconds instead of hours. Often a speed-up of thousands to millions of times.
∞
Many evaluations
Once trained, run it as often as you like at almost no cost — ideal when you need thousands of runs.
◎
Optimization & design
Cheap evaluations let you search large design spaces and optimize that were previously infeasible.
⟳
Real-time & interactive
Fast enough for live design tools, control loops, and digital twins that respond instantly.
The trade-off: a surrogate is an approximation. The skill is in building one accurate enough to trust — which is what the workflow is for.

## Slide 43
PART 2 · SURROGATE MODELING
From ML Fundamentals to Surrogate Modeling
44 / 52
THE MAP WE WILL FOLLOW
The End-to-End Workflow
Seven stages take you from a problem to a deployed surrogate. The hands-on session walks the middle of this map in detail.
1

## Slide 44
PART 2 · SURROGATE MODELING
From ML Fundamentals to Surrogate Modeling
45 / 52
GETTING THE DATA RIGHT
Best Practices at Each Stage (1 of 2)
Data Generation / Sampling
✓ Cover the full range of conditions you will face in practice.
✗ Avoid narrow or biased sampling — the model can't predict regimes it never saw.
Data Cleaning (3.1)
✓ Remove corrupted, non-converged, or missing-value cases before anything else.
✗ Garbage in, garbage out: bad training samples quietly poison the model.
Feature Engineering (3.3)
✓ Give the model informative inputs — encode known physics so it doesn't relearn it.
✗ Raw, uninformative inputs make learning far harder than it needs to be.
Train / Val / Test Split (3.4)
✓ Each split should reflect the real-world distribution; split before any tuning.
✗ Leakage: never let test data influence training or preprocessing choices.

## Slide 45
PART 2 · SURROGATE MODELING
From ML Fundamentals to Surrogate Modeling
46 / 52
TRAINING & JUDGING THE MODEL
Best Practices at Each Stage (2 of 2)
Scaling / Normalization (3.5)
✓ Compute scaling statistics (min/max, mean/std) from the training set only.
✗ Using val/test stats leaks information and inflates your scores.
Model Training (3.6)
✓ Watch training and validation loss together; save the best-validation checkpoint.
✗ Overfitting: training loss keeps dropping while validation loss climbs.
Hyperparameter Tuning (3.7)
✓ Tune against validation only; change one thing at a time and log every run.
✗ Tuning on the test set turns it into another validation set — no honest final score.
Evaluation (3.8)
✓ Use numbers (RMSE, MAE, R²) and pictures — plot predictions vs. truth and error maps.
✗ A single good metric can hide large local errors; always look at the fields.

## Slide 46
PART 2 · SURROGATE MODELING
From ML Fundamentals to Surrogate Modeling
47 / 52
LEARN FROM OTHERS' MISTAKES
Common Pitfalls to Avoid
⚠
Data leakage
Test information sneaks into training — through shared scaling stats, tuning, or duplicated samples. Result: great scores that collapse in the real world.
Fix: Split first. Compute all statistics on the training set only.
⚠
Unrepresentative data
Training data covers a narrower range than the deployment conditions, so the model extrapolates badly.
Fix: Sample to cover the full operating envelope you care about.
⚠
Overfitting
The model memorizes training cases instead of learning the pattern; validation error rises while training error falls.
Fix: Monitor validation loss, use regularization, keep the best checkpoint.
⚠
Trusting one number
A good average metric can hide large, localized errors exactly where they matter most.
Fix: Always visualize predictions, ground truth, and error maps.

## Slide 47
3
PART 3
Hands-On: Building the Surrogate
We follow the workflow end to end.
PART 3 · 47 / 55

## Slide 48
PART 3 · HANDS-ON
From ML Fundamentals to Surrogate Modeling
49 / 52
HANDS-ON · STAGE 1
Problem Definition: What Are We Predicting?
The goal: approximate a slow CFD simulation of natural ventilation with a fast neural network. Given a building's geometry and the incoming wind speed, predict the airflow velocity at every point in the domain.
Surrogate
Model
Velocity field
(m/s at every pixel)
The payoff: the CFD solver takes ~hours per case. Once trained, the U-Net predicts the same velocity field in milliseconds — fast enough to explore many building designs interactively.

## Slide 49
PART 3 · HANDS-ON
From ML Fundamentals to Surrogate Modeling
50 / 52
HANDS-ON · STAGE 2
The Dataset: Where the Data Comes From
A surrogate is only as good as its data. Ours comes from real CFD simulations spanning a range of geometries and wind speeds — not a single simplified case.
How one case is made
1
A building geometry — a 2-D layout of solid walls and open space under different opening ratios and locations, wind direction
2
An inlet wind speed — the incoming flow condition for that run
3
A CFD solver (>1 hr) — computes the airflow
4
The velocity field — the ground-truth answer we want to learn
The dataset at a glance
296
complete, cleaned cases (zero degree wind direction
Only
2–10 m/s
inlet wind speeds — a full range of conditions, not one fixed speed
128 × 128
grid resolution of every field
Why varied conditions matter: a model trained on only one wind speed or one geometry would fail on anything else. Covering the full 2–10 m/s range and many shapes is what lets the surrogate generalize to new designs.

## Slide 50
FROM CONCEPT TO CODE
Now we build it.
We will follow the exact same workflow, step by step , to build a surrogate that approximates CFD simulations of natural ventilation around buildings. From here on, we move into the notebooks and run real code together.
Notebook 1
Data Preprocessing Pipeline
Notebook 2
U-Net Model Training
Everything you just learned — convolutions, U-Net, the workflow, the best practices — is about to become a working tool.

## Slide 51
LET'S BUILD
Open the notebooks.